Derrywood Agencies                                                                  Email: sales@derrywood.com

Unit 4, Naas Road Business Park                                             Email: clarederrywoodagencies@gmail.com

Muirfield Drive, Naas road, Dublin 12                                   Phone:  086 2594661   /   01 4503800

The Ruby X downlight is a complete range of recessed

LED lighting from Intelux. We offer the X1, X2 and X5 way

lighting system with alternative colour options. The

LED uses the latest technology in the Osram 3030 chip

and is ideal for kitchens, bathrooms, retail and hotel

settings. It comes complete with a 3-year warranty.

Light Source

LED 2 Watts per module

Material

Die Cast Steel

Colour Temperature

Warm white, cool white and white

Beam angle

45

degrees

Colour Rendering Index

CRI >90

Ingres Protection

IP20

Cut out sizes

X1 = 40 *40, X2 = 40 * 70, X5 = 40 * 142 (mm)

Chip

Osram 3030, 50,000 hours